## Energy Audit Data
Location / Department | Appliance / Equipment | Power (W) | Power (kW) | Quantity | Total Power (kW) | Daily Usage (Hours) | Monthly Days Open | Daily Consumption (kWh) | Monthly Consumption (kWh)
Lab Area | Red Wood Viscometer | 400 |  | 1 |  | 1 | 30
Dean Office (FIT) | Fluorescent / LED Bulb (18W) | 18 |  | 2 |  | 2 | 30
Dean Office (FIT) | Fluorescent / LED Bulb (18W) | 18 |  | 6 |  | 4 | 30
Mechanical Lab | Tube Light / Bulb (32W) | 32 |  | 24 |  | 12 | 15
Mechanical Lab | Ceiling Fan (60W) | 60 |  | 6 |  | 2 | 12
Mechanical Lab | Flash Point Apparatus Machine | 600 |  | 1 |  | 1 | 1
Mechanical Lab | Desktop Computer | 150 |  | 1 |  | 12 | 30
Mechanical Lab | Laptop Charger | 95 |  | 1 |  | 3 | 30
Mechanical Lab | Printer | 780 |  | 1 |  | 12 | 30
Staff Washroom | Bulb (18W) | 18 |  | 2 |  | 12 | 30
Staff Washroom | Bulb (32W) | 32 |  | 2 |  | 12 | 30
Sports Society Room | Bulb (32W) | 32 |  | 2 |  | 2 | 30
Total Campus Energy Audit